## Slide 1: Resiliency & air toxics rule
A&WMA November 16, 2018

## Slide 2: Why?

## Slide 3: rulemaking
Proposed (Publication) | Adoption | Effective (Publication) | Operative
8/7/17 49 NJR 2373(a) | 12/14/17 | 1/16/18 50 NJR 454(a) | 2/12/18

## Slide 4: resiliency
Exempt from permitting: portable equipment used for emergency management activities
  N.J.A.C. 7:27-8.2(d)17
  Does not exempt equipment used for incineration/open burning
  Does not include equipment located on site for more than 90 consecutive days
Removal of 500 hours restriction for burning fuel oil during curtailment of natural gas supply
Notes: Engines powering portable equipment
CRM equipment
Rental equipment at a rental facility
Portable paper/hard drive shredders
Conveyance and baling of source-separated materials
Excavated materials placed directly into transportation vehicles

## Slide 5: Resiliency - definitions
“Emergency management activity” means an activity to mitigate against, prepare for, respond to, and recover from threatened or actual natural disasters, acts of terrorism, or other man-made disasters.
“Portable” means not attached to a permanent foundation, and designed and capable of being carried or moved from one location to another by means of wheels, skids, carrying handles, dolly, trailer, platform, or similar device.

## Slide 6: Exemptions for low-emitting temporary and portable equipment from permitting
Construction, Repair, & Maintenance (CRM)
  N.J.A.C. 7:27-8.2(d)15 & 16
Rental facilities (testing/maint/demo only)
  N.J.A.C. 7:27-8.2(d)18
Portable hard drive and paper shredders
  N.J.A.C. 7:27-8.2(d)19
Excavation and transfer of soil/sediment directly into vehicle
  N.J.A.C. 7:27-8.2(d)20
Baling/conveying of glass, plastic, cans, cardboard, and paper
  N.J.A.C. 7:27-8.2(d)21

## Slide 7: Permit exemption for CRM
CRM Equipment
  Portable
  Limited to 1 year
Equipment used to temporarily replace commercial fuel burning equipment
  Portable
  Located on site no longer than 90 days (can’t move on/off)
  Below State of the Art (SOTA) thresholds
  Notification to Enforcement
    Prior to operation
    Within 30 days after operation ceased

## Slide 8: Use of emergency generator for crm
Emergency generators used during infrequent non-emergency power disruptions
  Power disruption that results from CRM
  Limited to 30 days in any calendar year, not including normal testing and maintenance

## Slide 9: Air toxics
Updated reporting thresholds
  Most recent science and technology
Consolidated all reporting thresholds to N.J.A.C. 7:27-17
  Move from N.J.A.C. 7:27-8 & 22
  Updated N.J.A.C. 7:27-21 to reference N.J.A.C. 7:27-17
Notes: Used IRIS, supplemented w/CA

## Slide 10: New thresholds
185 of the 187 Federally listed HAPs (same # as before)
  ~65% decreased
    Benzene: 400 lbs/yr to 6 lbs/yr (petroleum products)
    Methyl bromide: 2,000 lbs/yr to 230 lbs/yr (fumigation)
    Tertrachloroethylene 2,000 lbs/yr to 180 lbs/yr (dry cleaners)
  ~20% increased
    Acetonitrile: 800 lbs/yr to 2,000 lbs/yr (synthetic rubber prod)
    Phenol: 20 lbs/yr to 2,000 lbs/yr (resin prod)
    Vinyl acetate: 200 lbs/yr to 2,000 lbs/yr (PVC prod)
Additionally, 11 TXS have 2nd reporting thresholds of 0.01 lbs/hr
No change in SOTA thresholds
Notes: Latest health benchmarks (USEPA, CalEPA, and ATSDR)
Latest USEPA approved model
Representative meteorology from recent years
Representative stack parameters

## Slide 11: Consolidation of reporting thresholds to N.J.A.C. 7:27-17
Reporting requirements for permitting still reside in N.J.A.C. 7:27-8 and 22
Operating permits (N.J.A.C. 7:27-22)
  New or modified filed on or after 2/12/18
  Renewals (no mods) with expiration date on or after 2/12/21
Preconstruction permits (N.J.A.C. 7:27-8)
  New or modified only filed on or after 2/12/18
  GP/GOP risk assessment done as part of development
Emission Statement (N.J.A.C. 7:27-21)
  Starting with 2018 emissions (reported in 2019)
Notes: New table in Sub 21 Appendix with old threshold for 2017 reporting use only

## Slide 12: Revisions to Technical manuals
Technical Manuals
  1002 – Guidance on Preparing an Air Quality Modeling Protocol
  1003 – Guidance on Preparing a Risk Assessment for Air Contaminant Emissions
Stakeholder process started in October 2017
Published notice in the March 19, 2018 New Jersey Register requesting public comments
Final updated Technical Manuals will be available beginning on December 3, 2018 at https://www.state.nj.us/dep/aqpp/techman.html

## Slide 13: Technical manual 1002
National Ambient Air Quality Standards updated
Model selection information revised to be consistent with revised 40 CFR Part 51, Appendix W, Guideline on Air Quality Models
Updated background air quality information and guidance provided
Improved meteorological data section with meteorological station details
Special modeling considerations included
Risk assessment modeling guidance
NOx to NO2 conversion ratio

## Slide 14: Technical manual 1003
Risk screening worksheet to be revised consistent with
  Current air quality models
  Recent meteorological data
Procedure for facility-wide risk assessment outlined
Deletions made
  Applicability for having to conduct a risk assessment
  Comprehensive risk assessments

## Slide 15: Useful webpages
NJDEP - http://www.nj.gov/dep/
Air Regulations - http://www.nj.gov/dep/aqm/
Air Permitting - http://www.state.nj.us/dep/aqpp/
Evaluation & Planning - http://www.nj.gov/dep/baqp/

## Slide 16: Contact information
Danny Wong
Bureau of Stationary Sources
401 E. State Street, 2nd floor
P.O. Box 420,
Mail Code 401-02
Trenton, NJ 08625-0420
Telephone: (609) 292-6716
Fax: (609) 292-1028
E-mail: danny.wong@dep.nj.gov

## Slide 17: questions?